Time flow cartridge for lead-free version

For TEMPOSTOP basin/urinals lead-free

Time flow ~7 s, AB system, lead-free

Reference: 743105LF

Specification description

Time flow cartridge for TEMPOSTOP basin/urinal.

~7 s time flow

Lead-free version.