Time flow cartridge for lead-free version

For TEMPOSTOP 2 and TEMPOMIX 2 basin

Time flow ~7 s., AB system, lead-free

Reference: 743908LF

Specification description

Time flow cartridge for TEMPOSTOP 2 and TEMPOMIX 2 basin taps.

Time flow ~7 s.

AB anti-blocking system.

Lead-free brass.