TEMPOSTOP time flow urinal valve - lead-free version

3 second time flow

Straight 1/2"

Reference: 777000LF

Specification description

Time flow urinal valve to be fitted on bracket:

For standard, siphon action or cubicle urinals.

Wall-mounted.

~3 second time flow.

Flow rate pre-set at 0.15 l/sec at 3 bar, can be adjusted.

Compatible with rain water.

Chrome-plated, lead-free brass body M1/2".

Wall-mounted fixing plate.

Straight for in-line inlet

30-year warranty.