Disposable shower kit

Flexible shower hose L. 1.50m with green union

25 units

Reference: 809G.25P

Specification description

Disposable shower kit.

- 25 white PVC flexible shower hoses L. 1.5m with green ABS conical unions;

- 25 white monojet shower heads, Ø 70mm: rain effect.

Ideal for healthcare faciltiies:

- Disposable shower kit: enables regular changing.

- Flexible hose has smooth interior and exterior: easier to maintain with fewer niches where bacteria can develop.

- Coloured conical unions: provides clear visual indication at installation and helps to ensure correct shower kit replacement.

Packaged in packs of 25.