Black FRAJU PMR washbasin

Matte black 304 stainless steel

Ø35mm central tap hole

Reference: 121440BK

Specification description

Wall-mounted hand washbasin, 620 x 505mm.

Ideal for people with reduced mobility.

Bacteriostatic 304 stainless steel.

Matte black Teflon® finish.

Stainless steel thickness: 1.2mm for the bowl and 1.5mm for surround.

Rounded edges prevent injury.

With Ø 35mm central tap hole.

Supplied without waste. Waste with black finish can be added (6110BK0 or chrome finish (6110).

Without overflow.

Supplied with fixings.

CE marked. Complies with European standard EN 14688.

Weight: 5kg.

30-year warranty.