Black UNITO wall-mounted washbasin

Matte black 304 stainless steel

Without tap hole

Reference: 120830BK

Specification description

Wall-mounted hand washbasin, 395 x 350mm.

Sleek and timeless design.

Bacteriostatic 304 stainless steel.

Matte black Teflon® finish.

Stainless steel thickness: 1.2mm.

Rounded edges prevent injury.

Without tap hole.

Supplied without waste. Waste with black finish can be added (6110BK) or chrome finish (6110).

Without overflow.

Supplied with fixings.

CE marked. Complied with European standard EN 14688.

Weight: 3.3 kg.

30-year warranty.