TEMPOSOFT 2 time flow basin tap

Soft-touch activation

Reference: 740500LD

Specification description

Deck-mounted push button basin tap:

Soft-touch activation.

~7 second time flow.

2 lpm flow rate.

Vandal resistant scale-resistant flow straightener.

M1/2" chrome-plated brass body.

Fixing with back nut

Supplied with blue and red markers.

Suitable for people with reduced mobility.

30-year warranty.