TEMPOSOFT 2 time flow basin tap

Soft-touch activation, regulated flow rate

Wall-mounted L.110 mm

Reference: 741500LD

Specification description

Wall-mounted push button basin tap:

Soft-touch activation.

~7 second time flow.

Pre-set flow rate at 2 lpm.

Vandal-resistant, scale-resistant flow straightener.

Chrome-plated brass M1/2" body L.110mm.

Suppled with blue and red markers.

Suitable for people with reduced mobility.

30 year warranty.