

Battery-operated power supply for TEMPOMATIC 7



Reference: ACEX9023


Specification description

Mandatory accessory for TEMPOMATIC 7.

Battery compartment and 6V CR-P2 lithium battery.
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