Toilet seat

Reference: 101619

CCTP description

Toilet seat without lid, 360 x 12 x 433mm.

Polyethylene vandal-resistant model is easy to clean.

Colour: black.

With 304 stainless steel hinges.

For S21 and 700 WC models.

Supplied with fixing elements.

10-year warranty.

[Formerly ref: 1108021601]