CANAL wall-mounted wash trough

Reference: 120250

CCTP description

Wall-mounted wash trough for 2 services L. 1,200mm

Bacteriostatic 304 stainless steel. Polished satin finish.

Stainless steel thickness: 1mm for the bowl, 1.5mm for surround and fixing brackets.

Easy to install: no joint concealers to install, light wash trough.

Drainage on the right.

No tap hole.

Supplied with 1½" waste.

Without overflow.

Supplied with brackets and fixing elements.

CE marked. Complies with European standard EN 14296.

Weight: 8.4kg.

Possible to add a bacteriostatic 304 stainless steel splashback (ref. 100250).

[Formerly ref: 0211250015]