Semi-recessed QUADRA washbasin

Reference: 120650

CCTP description

Semi-recessed washbasin, 380 x 380mm.

Suitable for use with wall-mounted or extended mixer/tap.

Basin internal diameter: 310mm.

Cutout diameter: 310mm.

Stainless steel thickness: 1.2mm.

Polished satin finish.

Stainless steel thickness: 1.2mm.

One-piece, seam-free pressed bowl.

Rounded edges prevent injury.

Supplied with 1¼" waste.

Without overflow.

CE marked. Complies with European standard EN 14688.

Weight: 3kg.