Wall-hung trough urinal

Reference: 130120

CCTP description

Wall-hung trough urinal.

Bacteriostatic 304 stainless steel. Polished satin finish.

Stainless steel thickness: 1.2mm.

Top water inlet F½.  Drainage on the right.

Supplied with 1 stainless steel sparge pipe (perforated horizontal pipe) for optimum rinsing of urinal surface.

Water savings: optimal rinsing with 0.1 L/sec. per service i.e. 0.3L per use.

Waste outlet 1½". Supplied with waste with integrated trap (ref. 785000).

Supplied with fixing elements.

Possible to add one or more bacteriostatic 304 stainless steel dividers (ref. 100900). Fix directly onto the urinal in the desired location.

Installation advice: if you wish to install 2 urinals side by side, we recommend ordering one urinal with drainage on the left and one with drainage on the right.

Weight: 32.1kg.