LP individual stall urinal

Reference: 130300

CCTP description

Floor-standing urinal.

Bacteriostatic 304 stainless steel.

Stainless steel thickness: 1.2mm.

Rear water inlet.

Supplied with 1 stainless steel rinser and a flexible hose.

Water saving: optimal rinsing with 0.1 L/sec. per service i.e. 0.3L per use.

Waste outlet 1½". Supplied with waste and integrated trap (ref. 785000).

Easy to install and maintain thanks to access panels with theft prevention TORX security screws.

Weight: 15.2kg.