Wall-hung DELTACÉRAM urinal

Reference: 133788

CCTP description

This EASY-D ceramic urinal pack contains:

- A ceramic rimless urinal which complies with European standard EN 13407 (CE marked): recessed or exposed waste outlet, with concealed trap; weight: 11.5kg;

- A TEMPOSOFT 2 exposed time flow urinal valve for in-line inlets: soft-touch operation, time flow ~3 seconds, flow rate pre-set at 0.15 L/sec. at 3 bar, can be adjusted, chrome-plated solid brass body;

- Chrome-plated neck tube with water nozzle;

- Waste and trap;

- Fixing elements kit;

- An installation guide.

4 reasons to choose DELABIE's EASY-D urinal packs:

- Packs are designed for public and commercial places

- Complete "All-in-one" packs

- Urinal valves are 100% DELABIE

- Hygienic packs