Wall-hung DELTACÉRAM urinal

Reference: 134118

CCTP description

Wall-hung individual, rimless, ceramic urinal.

Top water inlet (exposed).

Recessed or exposed waste outlet.

Supplied with spreader, waste and trap.

Supplied with fixing elements.

CE marked. Complies with European standard EN 13407.

Weight: 11.5kg.