Recessed shower tray

Reference: 150100

CCTP description

Recessed shower tray, 700 x 700mm.

Bacteriostatic 304 stainless steel. Polished satin finish.

Stainless steel thickness: 1.2mm.

One-piece pressed shower tray, seam-free for easy maintenance

and better hygiene.

Rounded internal corners for improved safety in the shower.

Drainage slope.

Supplied with 1 ½" waste.

Non-slip surface.

CE marked. Complies with European standard EN 14527.

Weight: 5.5kg.

[Formerly ref: 0513010000]