BOB TC washbasin

Reference: 160130

CCTP description

Wall-mounted washbasin with through-the-wall installation for service ducts.

Basin internal diameter: 310mm.

Clean and simple design.

Bacteriostatic 304 stainless steel.

Stainless steel thickness: 1.2mm.

Rounded edges prevent injury.

Vandal-resistant: shrouded basin.

200mm threaded rod can be cut to size (other lengths are available on request).

Without overflow.

Supplied with fixing elements.

CE marked. Complies with European standard EN 14688. Weight: 5.5kg.

[Formerly ref: 3416330000]