PMR XS TC wall-mounted washbasin

Reference: 160250

CCTP description

Wall-mounted washbasin, cross wall installation for service ducts.

Basin internal diameter: 310mm.

Bacteriostatic 304 stainless steel.

Polished satin finish.

Stainless steel thickness: 1.2mm.

Rounded edges prevent injury.

Vandal-resistant: shrouded basin.

200mm threaded rod can be cut to size (other lengths available on request.

Without overflow.

Supplied with fixing elements.

CE marked. Complies with European standard EN 14688.

Weight: 4.5kg.

[Formerly ref: 3416250000]