Surgical scrub-up trough L. 2,400mm

Reference: 18702015

CCTP description

Wall-mounted surgical scrub-up trough with 75mm upstand.

Suitable for hospitals and care facilities.

Complies with the former HTM64 guidance and new Health Building Note 00-10: Part C - Sanitary Assemblies.

Length 2,400mm, 3 services. Without tap hole.

Bacteriostatic 304 stainless steel. Polished satin finish. Stainless steel thickness: 1.2mm.

Smooth surface and rounded edges for easy cleaning.

"Hygiene +" design: reduces bacterial niches, concealed trap, easy to clean.

Drainage on the right.

Without overflow.

Supplied with fixing elements.

Weight: 42.5kg.