Mechanical  basin mixer H. 40mm L. 115mm

Reference: 2220L

CCTP description

Mechanical basin mixer H. 40mm L. 115mm with hygienic flow straightener.

Ø 40mm ceramic cartridge.

Pre-set maximum temperature limiter.

Flow rate limited to 5 lpm at 3 bar.

Hygiene control lever L. 150mm.

With 1 1/4" pop-up waste in polypropylene.

Supplied with PEX flexibles F3/8".

Reinforced fixing via 2 stainless steel rods.

10-year warranty.