2506T1

Mechanical basin mixer

Reference: 2506T1

Specification Description

Mechanical basin mixer with swivelling, tubular spout H. 200mm L. 150mm Ø 22mm with smooth interior (reduces bacterial development).

High spout with BIOSAFE hygienic outlet suitable for fitting a BIOFIL terminal filter.

Ø 35mm ceramic cartridge.

Flow rate limited to 5 lpm at 3 bar.

Slimline control lever.

Brass pop-up waste 1 1/4".

Supplied with F3/8" PEX stainless steel braided flexibles.

Chrome-plated brass body with reinforced fixing via 2 stainless steel rods and back-nuts.