BIOSAFE basin mixer H. 95mm L. 110mm

Reference: 2621

CCTP description

Mechanical basin mixer H. 55mm L. 80mm with BIOSAFE hygienic outlet integrated into the body.

Securitouch thermal insulation prevents burns.

Ø 35mm ceramic cartridge.

Pre-set maximum temperature limiter.

Thermal shocks are possible without removing the control lever or shutting off the cold water supply.

Body with smooth interior and very low water volume (reduces bacterial development).

Flow rate limited to 4 lpm at 3 bar.

Solid control lever.

Chrome-plated stainless steel body.

Mixer without pop-up waste 1 1/4".

Reinforced fixing via two stainless steel rods.

Supplied with stainless steel braided PEX flexibles F3/8", rotating unions.

10-year warranty.

Available 1st half 2017. Please contact sales office to check availability.