Mechanical  basin mixer H. 8mm L. 120mm

Reference: 2721T

CCTP description

Mechanical basin mixer H. 85mm L. 120mm with hygienic flow straightener.

Ø 40mm ceramic cartridge.

Pre-set maximum temperature limiter.

Body and spout with smooth interiors and low water volume (reduces bacterial development).

Flow rate limited to 5 lpm at 3 bar.

Solid control lever.

Without pop-up waste.

Supplied with PEX flexibles F3/8".

Reinforced fixing via 2 stainless steel rods.

10-year warranty.