BIOCLIP basin mixer H. 85 L. 120, Hygiene control lever

Reference: 2820L

CCTP description

BIOCLIP mechanical basin mixer H. 85mm L. 120mm with hygienic flow straightener.

Mixer can be removed entirely for cleaning/disinfection.

Ø 40mm ceramic cartridge.

Pre-set maximum temperature limiter.

Body and spout with smooth interiors and low water volume (reduces bacterial development.

Flow rate limited to 5 lpm at 3 bar.

Hygiene control lever.

With ergonomic pop-up waste 1 1/4" made from brass.

Supplied with braided stainless steel PEX flexibles PEX F3/8" with stopcocks in chrome-plated brass.

Reinforced fixing via 2 stainless steel rods.

10-year warranty.