DELABIE_C100M3535050W

**Basic straight grab bar, white, Ø 32mm, 300mm**

Reference: 35050W

Specification Description

Basic straight grab bar for people with reduced mobility.

Ø 32mm tube, 300mm centres.

White powder-coated stainless steel tube.

Concealed fixings, secured to wall by a 3-hole stainless steel plate.

10-year warranty.