4043S

**Satin stainless steel coat hook, short version**

Reference: 4043S

Specification Description

Coat hook, short model.

Tube Ø 20mm, 1mm thick.

Concealed fixings.

Polished satin 304 stainless steel.

Dimensions: Ø 62 x 65 x 73mm.