TEMPOMATIC

Reference: 428200

CCTP description

TEMPOMATIC electronic valve for cross wall individual urinal:

Mains supply, electronic control unit 12V with solenoid valve, filter and stopcock M1/2".

Cross wall installation for walls ≤ 225mm.

Shock-resistant infrared presence detector.

Detection distance, time flow and flow rate can be adjusted at installation.

Order the 230/12V transformer separately.

Presence detection delay is 3 seconds.

Automatic pre-rinse possible.

Time flow 3 sec. can be adjusted from 3 to 12 seconds.

Hygienic duty flush is possible every 24hours after last use, prevents vacuums in the siphon.

Flow rate 0.3 L/sec. at 3 bar pressure, can be adjusted.

Wall plate flush to the wall.

Threaded rods can be cut-to-size.