White hand spray

Reference: 433000

CCTP description

White hand spray with adjustable jet and shock-resistant tip.

Scale-resistant diffuser (nozzle has no mesh).

Two jet options: rain effect - 8 lpm at 3 bar and concentrated jet - 9 lpm at 3 bar.

Reinforced polypropylene handle with non-slip grip (improved grip).

Chrome-plated solid brass.

Hand spray can be locked in open position using integrated collar.

10-year warranty.