Pre-rinse set with no valve

Reference: 433020

CCTP description

White pre-rinse set with 3/4" long brass column.

White, scale-resistant M1/2" hand spray with adjustable jet and 9 lpm flow rate at the outlet.

White, reinforced, food-grade flexible hose L. 0.95m.

Adjustable wall bracket.

Stainless steel spring guide.

10-year warranty.

This pre-rinse set, with no valve, comprises spare parts for repairing pre-rinse sets.