White, food grade flexible hose L. 0.95m

Reference: 433095CH

CCTP description

Black, reinforced food-grade flexible hose L. 0.95m:

PVC sheath on stress area.

Anti-torsion rotating nut.

Flexible hose will withstand temperatures up to 70°C and 5 bar maximum pressure.

Spare part for repairing pre-rinse set components.