Pre-rinse set with no valve

Reference: 433620

CCTP description

Black pre-rinse set with 3/4"  short brass column for wall-mounted valves.

Black scale-resistant M1/2" hand spray with adjustable jet and 9 lpm flow rate at the outlet.

Black reinforced food-grade flexible hose L. 0.95m.

Adjustable wall bracket.

Stainless steel spring guide.

10-year warranty.

This pre-rinse set, with no valve, comprises spare parts for repairing pre-rinse sets.