Pre-rinse set with no valve

Reference: 433722

CCTP description

Black pre-rinse set with 3/4" long brass column.

Bib tap with:

- Swivelling, tubular spout L. 200mm.

- Full flow rate achieved within first 90°.

- Valve head with reinforced mechanism with ergonomic control knob.

Black scale-resistant M1/2" hand spray with adjustable jet and 9 lpm flow rate at the outlet.

Black reinforced food-grade flexible hose L. 0.95m.

Adjustable wall bracket.

Stainless steel spring guide.

10-year warranty.

This pre-rinse set, with no valve, comprises spare parts for repairing pre-rinse sets.