TEMPOMATIC 4

Reference: 479406

CCTP description

Electronic valve for individual urinals:

Battery-operated with integrated 223 6V Lithium battery.

For wall-mounted, exposed installation.

Reduced-stagnation solenoid valve and electronic unit integrated into the body of the valve.

Shock-resistant infrared presence detection sensor.

Detection delay is 10 seconds.

3 programmes (rinsing volume can be adjusted according to the type of urinal).

High-frequency mode (exclusive to DELABIE):

- short rinse after each user,

- complementary rinse after busy period.

Hygienic duty flush, every 24 hours after last use, prevents vacuums.

Flow rate 0.25 L/sec. at 3 bar, can be adjusted.

Integrated stopcock and flow rate adjuster.

One-piece chrome-plated metal body.

M1/2" connection.

Straight for in-line supply, outlet M1/2".

10-year warranty.

Ideal for replacing old installations:

Can easily be installed where there was previously a time flow urinal.