510051P

Wall-mounted toilet brush set with lid and long handle

Reference: 510051P

Specification Description

Toilet brush set with lid and long handle.

Bacteriostatic 304 stainless steel with bright polished finish.

Wall-mounted model with anti-theft lock for fixing.

Robust model.

Long, ergonomic handle: easy for wheelchair users or people who have difficulty bending to use.<br>Easy to clean: plastic bowl can be removed from above.

Plastic bowl with reservoir: avoids toilet brush sitting in residual water and reduces the risk of splashing when next used.

Toilet brush automatically centres itself in the holder.

Stainless steel thickness: 1mm body.

Dimensions: Ø 90 x 580mm.