Comfort shower seat, to be hung

Reference: 510300

CCTP description

Removable, hanging shower seat for people with reduced mobility.

To be hung on Ø 32mm bars (see refs. 5481P, 5120P2 and 50505P2).

HR Nylon comfort seat and backrest.

Large model.

Removable: reduces the number of shower seats in a facility, allowing installation only when required e.g. hotels or hospitals providing short-term accommodation for people with reduced mobility.

Warm to the touch.

Detachable solid seat made from high strength polymer.

Suitable for intensive use in public places or the healthcare sector.

Uniform non-porous surface for easy maintenance and hygiene.

Withstands chemical products and cleaning.

Anti-UV treatment.

Bacteriostatic 304 stainless steel structure Ø 32 x 1.5mm. UltraPolish bright polished structure.

Adjustable screw jacks guarantee a good horizontal position.

Large protective caps prevent damage to the wall.

Tested to over 200kg. Maximum recommended user weight: 135kg.

Dimensions: 590 x 420 x 510mm.

10 year warranty. CE marked.