Lift-up ALU shower seat, with leg

Reference: 510400

CCTP description

ALU lift-up shower seat with leg, for people with reduced mobility.

Structure made from white aluminium tube Ø 25mm x 2mm.

Concealed fixings.

Folding leg guided by an articulated arm.

Large plastic slats are comfortable and easy to maintain.

Seat height: 480mm.

Tested to over 200kg. Maximum recommended user weight: 135kg.

Folded dimensions: 82 x 545mm.

Dimensions: 407 x 360 x 480mm.

10 year warranty. CE marked.