Siphon

Reference: 517000

CCTP description

Trap for urinals or basins with horizontal outlet.

Inlet F1 1/4".

Horizontal outlet Ø 32mm with nut.

Water level 50mm.

Chrome-plated brass.

10-year warranty.