DELABIE_C100M35536

**ECO straight grab bar Ø 25mm, 600mm**

Reference: 536

Specification Description

ECO straight grab bar for people with reduced mobility.

Ø 25mm tube, 600mm centres.

Bright polished 304 stainless steel tube.

Visible fixings, secured to wall by a 3-hole plate.

10-year warranty.