5460N

Upright shower bar, Ø 32mm with sliding shower head holder

Reference: 5460N

Specification Description

Upright shower bar Ø 32mm with sliding shower head holder.

Can be used as a vertical grab bar and a shower head rail.

Nylon HR sliding shower head holder with ergonomic locking ring. Possible to add a soap dish holder (order separately).

Height: 1,150mm.

Suitable for intensive use in public places or the healthcare sector.

High-strength polyamide (Nylon) and polymer: with 2mm reinforced steel core treated against corrosion.

Uniform non-porous surface for easy maintenance and hygiene.

Good resistance to chemical products and cleaning. Anti-UV treatment.

Warm to the touch.

38mm gap between the bar and the wall: minimal space prevents the forearm passing between the bar and the wall, reducing the risk of fracture in case of loss of balance.

Fixings concealed by a 6-hole cover plate, Ø 73mm.

Supplied with stainless steel screws for concrete walls.

Tested to over 200kg. Maximum recommended user weight: 135kg.