Pre-rinse set

Reference: 5626

CCTP description

Complete pre-rinse set without bib tap.

Single hole deck-mounted mixer with slimline control lever.

Supplied with F3/8" flexible hoses and non-return valves.

Black, scale-resistant M1/2" hand spray with adjustable jet and 9 lpm flow rate at the outlet.

Reinforced, food-grade black flexible hose L. 0.95m.

3/4" brass column.

Adjustable wall bracket.

Stainless steel spring guide.

10-year warranty.