Auto-rewind hose reel

Reference: 5675T2

CCTP description

Auto-rewind hose reel with flexible hose L. 15m and guide rollers:

Maximum temperature 70°C.

Flow rate 23 lpm at 3 bar.

Maximum pressure 20 bar, 12 bar with trigger-op hand spray.

304 Stainless steel base and drum Ø 390mm.

Order separately: an angled stopcock with integrated vacuum breaker to prevent the back flow of polluted water into the mains supply.

10-year warranty.