729012

**Deck-mounted liquid soap dispenser, 1 litre**

Reference: 729012

Specification Description

Deck-mounted liquid soap dispenser with curved spout,

Model for deck-mounting on washbasins.

Vandal-resistant model.

Chrome-plated body and push-button.

Non-drip system (waterproof).

Mechanism can be locked via a grub screw.

Top fill (by unscrewing the

push-button) or from the lower part (by unscrewing the bottle).

Supplied with 1L bottle.

10-year warranty