DELABIE_C100M35729108

**Liquid soap dispenser**

Reference: 729108

Specification Description

Deck-mounted liquid soap dispenser with straight spout.

Model for deck-mounting on washbasins.

Vandal-resistant model.

Chrome-plated body and push-button.

Non-drip system (waterproof).

Mechanism can be locked via a grub screw.

Top fill (by unscrewing the push-button) or from the lower part (by unscrewing the bottle).

Supplied with a 1.20m Rilsan tube for remote tank.

10-year warranty.