PREMIX COMPACT

Reference: 733021

CCTP description

PREMIX COMPACT thermostatic mixing valve for mixed water distribution from 30 - 60°C:

For 2 to 10 sanitary points-of-use (depending on the flow rate).

Anti-scalding safety: immediate shut-off if cold or hot water supply fails.

Adjustable temperature from 30 - 60°C, can be blocked by the installer.

Brass body.

Filters and non-return valves.

Minimum flow rate to operate: 5 lpm.

Thermal shocks are possible.

M3/4".

Chrome-plated brass with blue control cap.

10-year warranty.