MONOFOOT

Reference: 736102

CCTP description

Foot-operated basin valve with instant shut-off:

Instant automatic shut-off.

Pedal can be raised for cleaning the floor.

Adjustable pedal height.

Fixed by 4 screws.

Filter.

Cold or mixed water supply.

Wall-mounted M1/2".

10-year warranty.