TEMPOCHASSE

Reference: 760700

CCTP description

Cross wall time flow kit for direct flush:

For walls ≤ 190mm.

Time flow ~7 seconds.

Vacuum breaker.

In-line raw brass stopcock and flow/volume rate adjuster.

Solid brass body and chrome-plated push-button.

Shockproof mechanism.

In-line inlet F1".

Connection washer Ø 32/55mm.

Threaded rod can be cut to size.

With PVC angled flush tube Ø 32mm.

Base flow rate: 1.2 L/sec.

10-year warranty.