TEMPOFLUX 1

Reference: 761001

CCTP description

Exposed time flow flush valve kit for direct flush:

For wall-mounted exposed installation.

Soft-touch operation.

Time flow ~7 seconds.

Vacuum breaker.

Integrated stopcock and flow/volume rate adjuster.

Chrome-plated solid brass body and push-button.

Angled inlet M3/4".

Base flow rate: 1 L/sec.

10-year warranty.