SECURITHERM shower panel

Reference: 792344

CCTP description

SECURITHERM thermostatic mixer.

Adjustable temperature control from cold water up to 38°C with 1st limiter set at 38°C and 2nd limiter set at 41°C.

Anti-scalding safety: automatic shut-off if cold or hold water supply fails.

Chrome-plated, tamperproof, scale-resistant ROUND shower head with automatic flow rate regulation set at 6 lpm at 3 bar.

Handset with removable flexible via rapid push-fit STOP connector, wall support supplied.

Non-time flow valves control the ROUND shower head and the handset.

Thermal shocks are possible.

Concealed fixings.

Filters and non-return valves.

10-year warranty.