Wall-mounted safety eye wash, single spray

Reference: 9120C

CCTP description

Wall-mounted single spray eye wash with:

Eye wash spray head with protective cap in green ABS; will eject automatically when activated.

Press the trigger to operate eye wash spray.

A spring automatically shuts off spray.

Flow rate 6 lpm at 3 bar. Aerator with stainless steel double filter.

Ergonomic grip and trigger in green polypropylene.

Supplied with identification sign for first aid equipment "Eye Wash".

Hook for spray head.

10-year warranty.